Instructions for the TA:

- All TA should make sure the students attending the lab are enrolled in the respective sections. 
To check the roaster log onto UMEG.UMD.EDU

- Make sure the Probes are at the same compensation 10x or 1x.

- Power Supply are Floating. Please establish Ground before any experiment.

- In case, students use IC, make sure they use the IC puller.

- Enforce student to use the FPGA Board, outside the FPGA Box.